## Export
Key | Type | Task ID | Req ID | Contract | Building | Short Description | Asset Description | Level of Completion | Fault Code | Status | Labour Cost | PO Cost | Stock Cost | Key | Discipline | Reported Date | Due By | Time Taken | Asset Code | Task Created | Name | Reporter | Group | Frequency | Priority | Comments | Description | Room No | Floor
2GY | PPM | 1000PM:2016-22/128 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | FIRE ALARM SYSTEM |  |  | ACTIVE | 0 | 0 | 0 | ALM4000001 | ALARMS ENGINEER | 2016-01-06 23:59 | 2016-01-06 23:59 | 0 | 1000-FAS-001 | 18/05/2016 08:16 | Alexander Lamb |  | COMPLIANCE | 3 MONTHLY | 30 DAYS | Alarms dept | WHOLE BUILDING | THROUGHOUT | WHO
2GY | PPM | 1000PM:2016-22/123 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | EMERGENCY LIGHTING |  |  | ACTIVE | 0 | 0 | 0 | ALM4000001 | ELECTRICIAN | 2016-01-06 23:59 | 2016-01-06 23:59 | 0 | 1000-EML-001 | 18/05/2016 08:16 | Alexander Lamb |  | COMPLIANCE | 3 MONTHLY | 30 DAYS | Alarms dept | WHOLE BUILDING | THROUGHOUT | WHO
2GY | PPM | 1000PM:2016-19/137 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | CONDENSING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-CU-007 | 19/04/2016 09:04 | Alexander Lamb |  |  | 3 MONTHLY | 30 DAYS |  | MEZZANENE | STORES AREA | MEZ
2GY | PPM | 1000PM:2016-19/136 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-ACU-011 | 19/04/2016 09:04 | Alexander Lamb |  |  | 3 MONTHLY | 30 DAYS |  | GROUND FLOOR | COMP ROOM | GND
2GY | PPM | 1000PM:2016-19/135 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | HEAT RECOVERY UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-VAM-001 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | Bracket missing from access panel. | ROOF VOID | MAIN OFFICE | ROOF
2GY | PPM | 1000PM:2016-19/134 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | FILTRATION |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | PLUMBERS | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-FIL-001 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | Water cooler | GROUND FLOOR | RECEPTION KITCHEN | GND
2GY | PPM | 1000PM:2016-19/133 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | FAN SYSTEMS |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-EF-002 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS |  | GROUND FLOOR | REAR TOILETS | GND
2GY | PPM | 1000PM:2016-19/132 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | FAN SYSTEMS |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-EF-001 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS |  | GROUND FLOOR | RECEPTION TOILETS | GND
2GY | PPM | 1000PM:2016-19/125 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | ELECTRIC WATER HEATERS |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-EWH-002 | 19/04/2016 09:06 | Alexander Lamb |  | COMPLIANCE | 6 MONTHLY | 30 DAYS |  | ROOF VOID | MAIN OFFICE | ROOF
2GY | PPM | 1000PM:2016-19/124 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | ELECTRIC WATER HEATERS |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-EWH-001 | 19/04/2016 09:06 | Alexander Lamb |  | COMPLIANCE | 6 MONTHLY | 30 DAYS |  | GROUND FLOOR | RECEPTION KITCHEN | GND
2GY | PPM | 1000PM:2016-19/121 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | CONDENSATE PUMPS |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-CON-001 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS |  | MEZZANENE | STORES AREA | MEZ
2GY | PPM | 1000PM:2016-19/119 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-ACU-009 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 5 | GROUND FLOOR | MAIN OFFICE AREA | GND
2GY | PPM | 1000PM:2016-19/118 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | CONDENSING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-CU-005 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 4 | GROUND FLOOR | REAR STORES | GND
2GY | PPM | 1000PM:2016-19/117 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | CONDENSING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-CU-006 | 19/04/2016 09:04 | Alexander Lamb |  |  | 3 MONTHLY | 30 DAYS |  | MEZZANENE | STORES AREA | MEZ
2GY | PPM | 1000PM:2016-19/116 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | CONDENSING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-CU-004 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 3 | MEZZANENE | STORES AREA | MEZ
2GY | PPM | 1000PM:2016-19/115 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | CONDENSING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-CU-003 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 2 | MEZZANENE | STORES AREA | MEZ
2GY | PPM | 1000PM:2016-19/114 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | CONDENSER UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-CU-002 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 5 | MEZZANENE | STORES AREA | MEZ
2GY | PPM | 1000PM:2016-19/113 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | CONDENSER UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-CU-001 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 1 | MEZZANENE | STORES AREA | MEZ
2GY | PPM | 1000PM:2016-19/108 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-ACU-010 | 19/04/2016 09:04 | Alexander Lamb |  |  | 3 MONTHLY | 30 DAYS |  | GROUND FLOOR | COMP ROOM | GND
2GY | PPM | 1000PM:2016-19/107 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-ACU-008 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 5 | GROUND FLOOR | MAIN OFFICE AREA | GND
2GY | PPM | 1000PM:2016-19/106 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-12-05 23:59 | 2016-12-05 23:59 | 0 | 1000-ACU-007 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 5 | GROUND FLOOR | MAIN OFFICE AREA | GND
2GY | PPM | 1000PM:2016-17/126 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | FIRE EXTINGUISHERS |  |  | ACTIVE | 0 | 0 | 0 | ALM4000001 | FIRE EX ENGINEER | 2016-01-05 23:59 | 2016-01-05 23:59 | 0 | 1000-FEX-001 | 19/04/2016 09:07 | Alexander Lamb |  | COMPLIANCE | 1 YEARLY | 30 DAYS | Extinguisher Services - AFM Contact Terry Guerin | WHOLE BUILDING | THROUGHOUT | WHO
2GY | PPM | 1000PM:2016-17/120 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-01-05 23:59 | 2016-01-05 23:59 | 0 | 1000-ACU-004 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 2 | GROUND FLOOR | MAIN OFFICE AREA | GND
2GY | PPM | 1000PM:2016-17/105 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-01-05 23:59 | 2016-01-05 23:59 | 0 | 1000-ACU-006 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 4 | GROUND FLOOR | FINANCE OFFICE | GND
2GY | PPM | 1000PM:2016-17/104 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-01-05 23:59 | 2016-01-05 23:59 | 0 | 1000-ACU-005 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 3 | GROUND FLOOR | MD/CHAIRMANS OFFICE | GND
2GY | PPM | 1000PM:2016-17/103 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-01-05 23:59 | 2016-01-05 23:59 | 0 | 1000-ACU-003 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 1 | GROUND FLOOR | MAIN OFFICE AREA | GND
2GY | PPM | 1000PM:2016-17/102 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-01-05 23:59 | 2016-01-05 23:59 | 0 | 1000-ACU-002 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 1 | GROUND FLOOR | MARKS OFFICE | GND
2GY | PPM | 1000PM:2016-17/101 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | AIR CONDITIONING UNIT |  |  | ACTIVE | 0 | 0 | 0 | PLA4000001 | MAINTENANCE ENGINEER | 2016-01-05 23:59 | 2016-01-05 23:59 | 0 | 1000-ACU-001 | 19/04/2016 09:04 | Alexander Lamb |  |  | 6 MONTHLY | 30 DAYS | System 1 | GROUND FLOOR | DARRENS OFFICE | GND
2GY | PPM | 1000PM:2016-09/127 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | FIRE ALARM SYSTEM |  |  | ACTIVE | 0 | 0 | 0 | ALM4000001 | ALARMS ENGINEER | 2016-01-03 23:59 | 2016-01-03 23:59 | 0 | 1000-FAS-001 | 24/02/2016 16:32 | Alexander Lamb |  | COMPLIANCE | 1 YEARLY | 30 DAYS | Alarms dept | WHOLE BUILDING | THROUGHOUT | WHO
2GY | PPM | 1000PM:2016-09/122 |  | AFM GUERNSEY M&E | AFM GUERNSEY M&E |  | EMERGENCY LIGHTING |  |  | ACTIVE | 0 | 0 | 0 | ALM4000001 | ELECTRICIAN | 2016-01-03 23:59 | 2016-01-03 23:59 | 0 | 1000-EML-001 | 24/02/2016 16:32 | Alexander Lamb |  | COMPLIANCE | 1 YEARLY | 30 DAYS | Alarms dept | WHOLE BUILDING | THROUGHOUT | WHO